Equitable Fire Hydrant Placement
Johnathan Rhyne

---
Motivation
- Building new housing incurs more costs than just the construction of the building itself
- Safety of inhabitants is important
- Can affect home insurance rates

---
Limitations
- A LOT of buildings in our data set
- Hard to access official data
- Sparse crowd sourced data outside Denver-Metro area

---
Design Decisions
- Precompute all distances
- Close proximity means euclidean distance is sufficient

---
Clustering Program (LP with Integer Solution)

---
Region Selection Methods
- Selecting varying size regions distributed throughout our data set
- Could be refined based on other factors

---
Current State
Assigning every house to its closest hydrant

---
Facility Location Program

---
Variable Support

---
Methods
- In each region, determine placement of hydrants to minimize the distance from each building to its hydrant.
- Penalize creating new hydrants

---
Proposed Placement
Very few differences in our testing

---
Analysis
- No real difference between “ideal” and actual
- Consider different penalization for adding new hydrants

---
Future work
- Better data: Clear distinction for homes and businesses
- Look at regions with clear disparities in socioeconomic status
- Better measure of equitability: Treat higher density apartments as more expensive than homes due to more people
- Consider fire risk

---
Citations
- Denver Fire code
- Overpass Turbo (Used for getting our data)
- Insurance rate increases
- Source Code